### Chemical Hygiene Plan

#### Table of Contents

- Introduction

- Implementation and Responsibilities

- Scope of Application

- Administrative Details

- Required Components of a Chemical hygiene Plan

- Generalized Standard Operating Procedures

- Control Measures to Reduce Employee Exposures

- Fume Hood Performance

- Employee Information and Training

- Medical Consultation/Examinations

- Work with Particularly Hazardous Substances

- Appendix 1: Guidelines for Preparing Laboratory Specific Standard Operating Procedures

- Appendix 2: 29 CFR 1910.1450 Occupation Exposure to Hazardous Chemicals in Laboratories

- Appendix 3: OSHA Permissible Exposure Limits (PEL's)

- Appendix 4: Regulated Chemical Lists

- Appendix 5: Chemical Storage Information

- Appendix 6: Glove Selection

- Appendix 7: Laboratory Safety Checklist

- Appendix 8: Accident Reporting

- References

Introduction

As a educational institution, …………………………………………is morally and legally obligated to provide a safe working environment for all its employees and students. The moral obligation to provide a safe and healthy workplace is very clear.

In the United States of America, the Occupational Safety and Health Administration (OSHA) has legal authority in matters concerning employee safety. In most cases, employees are protected by OSHA's General Industry Standards (29 CFR 1910). One of the primary standards is the Hazard Communication Standard (29 CFR 1910.1200).

Since ……………………………………………………employs workers engaged in the laboratory use of hazardous chemicals, the ………………………………………..is required to comply with the provisions of another OSHA standard: "29 CFR 1910.1450 Occupational Exposure to Hazardous Chemicals in Laboratories." This standard is commonly referred to as "The OSHA Lab Standard." It was developed to provide increased protection to laboratory employees above that provided in the General Industry Standard.

Understanding the moral and legal obligation to provide for the safety of laboratory employees is the first step in complying with the OSHA Lab Standard. The backbone of the Lab Standard is its requirement for employers to develop and carry out the provisions of a written Chemical Hygiene Plan (CHP).

The OSHA Lab Standard is a "performance oriented standard," this means the minimum requirements are established by OSHA, but the methods for achieving these requirements are left up to the employer.

With the great diversity of lab activities at…………………………………. it is impossible for any one person to define standard operating procedures (SOPs) for every activity in every laboratory. However, the performance-oriented nature of this standard makes it possible to construct a general framework that can be used by individual laboratories, to meet the requirements of the OSHA Lab Standard.

This document constitutes the …………………………………….Chemical Hygiene Plan. Its purpose is to provide for the safety of the …………………………………laboratory employees. It is designed to provide general information applicable to most laboratories, with specific information and procedures to be added by individual laboratories. (See Appendix 1 of this Chemical Hygiene Plan.)

Implementation and Responsibilities

The …………………………………………………………… Chemical Hygiene Plan will be implemented and administered by ……………………………………..Department of Environmental Health and Safety (EH&S). The manager of the Chemical Safety Section within the EH&S has been designated as the ……………………………………………….Chemical Hygiene Officer (CHO). The Chemical Hygiene Officer is responsible for developing, implementing, and reviewing the written Chemical Hygiene Plan that will be reviewed annually and updated as needed.

Although ultimate responsibility for the development and implementation of the chemical hygiene plan for the ……………………………………………..rests with the Chemical Hygiene Officer, it is important to realize that the responsibility for chemical hygiene itself rests at all levels of the …………………………………………….. Chemical hygiene responsibilities under the ……………………………Chemical Hygiene Plan are outlined below.

- The Business Administrator, as the chief executive of the ………………………….., has ultimate responsibility for chemical hygiene within the institution and with other administrators, as well as providing continuing support for the Chemical Hygiene Plan.

- Department Heads, and Principal Investigators are responsible for compliance with the ………………………………..Chemical Hygiene Plan within their areas. This includes, ensuring that all employees under their direct supervision are complying with the Chemical Hygiene Plan.

- The ………………………………………Chemical Hygiene Officer is responsible for developing, coordinating implementation, and updating the Chemical Hygiene Plan on behalf of the Business Administrator, or his designated representative. The Chemical Hygiene Officer will assist departments and individual laboratories in implementing and complying with the Chemical Hygiene Plan. The Chemical Hygiene Officer must also institute appropriate audit methods to ensure compliance.

- Department Safety Representatives are responsible for ensuring Principal Investigators and Laboratory Managers develop and implement standard operating procedures and training programs specific to their laboratories. Department Safety Representatives will maintain an up-to-date copy of the Chemical Hygiene Plan, and act as a liaison to the ………………………………….Chemical Hygiene Officer. Principal Investigators and Laboratory Managers have overall responsibility for chemical hygiene in their laboratories. Each will develop and implement standard operating procedures (see Appendix 1 of this plan) and training programs specific to the work being carried out in their laboratories. Principal Investigators and Laboratory Managers ensure that their workers understand and follow the Chemical Hygiene Plan; they should complete laboratory safety inspections on a regular basis.

- Laboratory employees are ultimately responsible for developing and applying good chemical hygiene practices as outlined in the Chemical Hygiene Plan. They must always use the appropriate personal protective equipment that will be provided for their use. Laboratory workers are required to report all accidents, injuries, and illnesses to their supervisor, so the circumstances of the incident can be investigated and corrective action(s) taken. (See Appendix 8, Accident Reporting.)

- Guests, including visiting scientists, should be informed of chemical hygiene practices as outlined in the Chemical Hygiene Plan. They must also be informed of the appropriate personal protective equipment that is available for their use. Other information should include accident, injury, and illness reporting requirements.

Scope and Application

In order to determine to whom the …………………………Chemical Hygiene Plan applies, it is first necessary to provide some critical definitions. The definitions listed below are taken directly from the OSHA Lab Standard (29 CFR 1910.1450(b)). The OSHA Lab Standard is given as Appendix 2 of this Chemical Hygiene Plan, and it provides all definitions relevant to the OSHA Lab Standard (including the following).

Chemical Hygiene Plan means a written program developed and implemented by an employer which sets forth procedures, equipment, personal protective equipment and work practices that is capable of protecting employees from the health hazards presented by hazardous chemicals used in that particular workplace.

Emergency means any occurrence such as, but not limited to, equipment failure, rupture of containers or failure of control equipment that results in an uncontrolled release of hazardous chemicals in the workplace.

Employee means an individual employed in a laboratory workplace who may be exposed to hazardous chemicals in the course of his or her assignments.

Hazardous chemical means a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees. The term "health hazard" includes chemicals which are carcinogens, toxic or highly toxic agents, reproductive toxins, irritants, corrosives, sensitizers, hepatotoxins, nephrotoxins, neurotoxins, agents which act on the hematopoietic systems, and agents which damage the lungs, skin, eyes, or mucous membranes.

Laboratory means a facility where the "laboratory use of hazardous chemicals" occurs. It is a workplace where relatively small quantities of hazardous chemicals are used on a non-production basis.

Laboratory scale means work with substances in which the containers used for reactions, transfers, and other handling of substances are designed to be easily and safety manipulated by one person. "Laboratory scale" excludes those workplaces whose function is to produce commercial quantities of materials.

Laboratory-type hood means a device located in a laboratory, enclosed on five sides with a movable sash or fixed partial enclosure on the remaining side; constructed and maintained to draw air from the laboratory and to prevent or minimize the escape of air contaminants into the laboratory; and allows chemical manipulations to be conducted in the enclosure without the insertion of any portion of the employee's body other than hands and arms.

Walk-in hoods with adjustable sashes meet the above definition provided that the sashes are adjusted during use so that the airflow and the exhaust of air contaminants are not compromised and employees do not work inside the enclosure during the release of airborne hazardous chemicals.

Laboratory use of hazardous chemicals means handling or use of such chemicals in which all of the following conditions are met:

- Chemical manipulations are carried out on a "laboratory scale;"

- Multiple chemical procedures or chemicals are used;

- The procedures involved are not part of a production process, nor in any way simulate a production process; and

- "Protective laboratory practices and equipment" are available and in common use to minimize the potential for employee exposure to hazardous chemicals.

Physical hazard means a chemical for which there is scientifically valid evidence that it is a combustible liquid, a compressed gas, explosive, flammable, an organic peroxide, an oxidizer, pyrophoric, unstable (reactive) or water reactive.

Protective laboratory practices and equipment means those laboratory procedures, practices and equipment accepted by laboratory health and safety experts as effective, or that the employer can show to be effective, in minimizing the potential for employee exposure to hazardous chemicals.

Based on the definitions above, the ……………………………………Chemical Hygiene Plan will apply to all areas or laboratories engaged in the laboratory use of hazardous chemicals.

Administrative Details

The …………………………….Chemical Hygiene Plan is available on the Environmental Health & Safety website http://www……………………………………….. This location will allow the most current information to be available for all …………………………………employees.

Having the Chemical Hygiene Plan available on the EH&S website will most effectively ensure that employees have access to pertinent safety information. It will also provide a template for new investigators or Lab Managers when they bring new laboratories on-line and need to complete their own portions of the Chemical Hygiene Plan.

Required Components of a Chemical Hygiene Plan

The OSHA Lab Standard specifies that eight elements be addressed in order to ensure the protection of laboratory employees. These eight elements are summarized below, and are fully detailed in 29 CFR 1910.1450(e)(3) of the regulation.

- Standard operating procedures for handling toxic chemicals.

- Control measures to reduce worker exposures.

- Fume hood performance.

- Employee information and training (including emergency procedures).

- Requirements for prior approval of laboratory activities.

- Medical consultation and medical examinations.

- Chemical hygiene responsibilities.

- Special precautions for work with particularly hazardous substances.

Responsibilities under the Chemical Hygiene Plan (#7) have already been discussed. The remaining elements will be addressed in the pages that follow. This portion of the Chemical Hygiene Plan is generalized, and individual Lab Managers and Principal Investigators are responsible for lab safety in their areas. See Appendix 1 of this Chemical Hygiene Plan for more information.

Generalized Standard Operating Procedures

At all times, in all laboratories, the use of "Good Laboratory Practices" is required (see References). Individuals are responsible for ensuring that not only themselves, but all others around them, are working in a safe manner.

There are many excellent publications containing guidelines for the safe conduct of laboratory work, also known as "Good Laboratory Practice." Safety in Academic Chemistry Laboratories, published by the American Chemical Society, is an excellent reference for "Good Laboratory Practices." This particular publication is concise, readable, and is oriented toward academic laboratories. It is recommended reading for all laboratory personnel. Consulting other safety information resources is encouraged, review the references or contact the Chemical Hygiene Officer.

The following general Standard Operating Procedures apply to all laboratories 1. Each laboratory must include any specific rules pertaining to Standard Operating Procedures used in that lab.

ACCIDENTS AND SPILLS:

Eye Contact: Promptly flush eyes with water for a prolonged period (15 minutes) and seek medical attention. Hold eyelids open if possible.

Ingestion: Consult MSDS, a chemical first aid manual or call the Poison Control Information Center at 1-800-282-3171. Seek medical attention as soon as possible.

Skin Contact: Promptly flush the affected area with water (minimum of 15 minutes) and remove any contaminated clothing. If symptoms persist after washing, seek medical attention.

Accident Reporting: Should an accident occur, follow procedures outlined in Appendix 8 of this CHP. Report all accidents to your supervisor.

Clean-up: Promptly clean up all spills, using appropriate personal protective equipment and properly dispose of the resulting waste, including all labeling requirements. Consult MSDS and other safety information sources for specific clean-up recommendations. Only minor, non-emergency spills may be cleaned up by those working in the area. Minor, non-emergency spills are limited to those spills of non-acutely hazardous materials of less than 0.5 liter in volume or 1 pound in weight. If a minor spill occurs, use the following procedures:

- Secure area, notify other workers and supervisor.

- Consult MSDS, determine if spill can be managed.

- Assemble spill control equipment.

- Don appropriate personal protective equipment.

- Absorb and containerize the spilled material.

- Label the container with:

  - The contents of container

  - The words, "Hazardous Waste"

  - The date containerized

- Call EH&S to report spill and have containers picked up.

AVOIDANCE OF "ROUTINE" EXPOSURE:

Develop and encourage safe work practices. Avoid unnecessary exposure to chemicals by any route; encourage proper personal hygiene (i.e. wash hands prior to leaving laboratory area). Do not smell or taste chemicals. Vent apparatus that may discharge toxic chemicals (vacuum pumps, distillation columns, etc.) into local exhaust devices. Inspect gloves and test glove boxes before use. Do not allow release of toxic substances in cold rooms and warm rooms, since these contain recirculated atmospheres.

CHOICE OF CHEMICALS:

Strive to substitute less hazardous chemicals whenever practical. Limit inventory on hand to chemicals and quantities necessary for laboratory activities. Inspect chemical inventories periodically and dispose of out-dated chemicals in accordance with chemical disposal controls.

EATING, SMOKING, ETC:

Do not eat, drink, use tobacco products (smoke, chew, dip), chew gum, or apply cosmetics in areas where laboratory chemicals are present; wash hands before conducting these activities.

Do not store food or beverages in refrigerators or glassware that have been used for laboratory operations.

EQUIPMENT AND GLASSWARE:

Handle and store laboratory glassware with care to avoid damage; do not use damaged glassware. Use extra care with Dewar flasks and other evacuated glass apparatus; shield or wrap them to contain chemicals and fragments should implosion occur. Use equipment only for its designed purpose. Dispose of damaged/unwanted glassware in accordance with associated hazards; sharps and chemical.

EXITING:

Wash areas of exposed skin well before leaving the laboratory.

HORSEPLAY:

Avoid practical jokes or other behavior, which might confuse, startle or distract another worker.

MOUTH SUCTION:

Do not use mouth suction for pipetting or starting a siphon.

PERSONAL APPAREL:

Confine long hair and loose clothing. Wear close-toed shoes and long pants at all times in the laboratory. Do not wear sandals, perforated shoes, or cloth sneakers.

PERSONAL HOUSEKEEPING:

Keep the work area clean and uncluttered, with chemicals and equipment being properly labeled and stored; clean up the work area on completion of an operation or at the end of each day.

PERSONAL PROTECTION:

Assure that appropriate eye protection is worn by all persons, including visitors, where chemicals are stored or handled. Minimum eye protection is safety glasses with side shields, other forms may include goggles, face shields, etc., to be used as necessary based on potential hazard. Wear appropriate gloves when the potential for contact with toxic materials exists; inspect the gloves before each use, wash them before removal, and replace them periodically. (See Appendix 6 of the Chemical Hygiene Plan for more information on proper glove selection.) Laboratory coats should be worn when working in the laboratory.

Use appropriate respiratory equipment when air contaminant concentrations are not sufficiently restricted by engineering controls. Inspect the respirator before and after use. You must contact EH&S before using any respirator in order to receive mandatory training.

Use any other protective and emergency apparel and equipment as appropriate. Avoid use of contact lenses in the laboratory unless necessary. If contact lenses are used, inform supervisor so special precautions can be taken. Remove laboratory coats immediately upon significant contamination and decontaminate or dispose of properly.

PLANNING:

Seek information and advice about hazards. Review all applicable MSDSs before handling chemicals. Plan appropriate protective procedures. Plan positioning of equipment before beginning any new operation. Locate emergency supplies and exits. Ensure that aisles are clear and kept clear during laboratory operations.

UNATTENDED OPERATIONS:

Leave lights on, place an appropriate sign on the door, and provide for containment of toxic substances in the event of failure of a utility service (such as cooling water) to an unattended operation. All unattended operations must be provided with automatic shutdown controls to prevent accidents, fires, or explosions.

USE OF HOOD:

Use the hood for operations that may result in release of toxic chemical vapors or dust. As a rule of thumb, use a hood or other local ventilation device when working with any appreciably volatile substance with a Threshold Limit Value (TLV) of less than 50 ppm. Confirm adequate hood performance before use; keep hood closed at all times except when adjustments within the hood are being made; keep materials stored in hoods to a minimum and do not allow them to block vents or air flow. Leave the hood "on" when it is not in active use if toxic substances are stored in it or if it is uncertain whether adequate general laboratory ventilation will be maintained when it is "off". Always have a contingency plan in the event of hood failure. Do not store chemicals or wastes in a fume hood. (See also section on Fume Hood Performance)

AWARENESS:

Be alert to unsafe conditions and see that they are corrected when detected. All visitors should be supervised by laboratory personnel. Unescorted visitors should be asked to leave the area.

WORKING ALONE:

Avoid working alone in a building. Prior approval from the Principal Investigator is required before working alone in a laboratory. Working alone in a laboratory is prohibited when working with a compound of high or unknown toxicity.

WASTE DISPOSAL:

Standard Operating Procedures (See Appendix 1) for each laboratory must include procedures for waste disposal. Each laboratory generating hazardous waste must designate at least one Accumulation Point Manager, who must ensure that all waste generators within his/her lab receive annual Hazardous Waste Training.

Control Measures to Reduce Employee Exposures

Safe work with hazardous chemicals can only be accomplished through the use of proper control measures. Proper control measures include the use of engineering controls, personal protective equipment, proper storage and handling of chemicals, and proper use and maintenance of safety equipment. Use of proper control measures reduces the risk of employee exposure to hazardous chemicals.

Engineering Controls:

Ventilation is the most common and most important form of engineering control used to reduce exposures to hazardous chemicals. There are two types of ventilation: general ventilation and local exhaust.

- General Ventilation:

General ventilation for laboratory operations should be designed such that the laboratory is under a slightly negative pressure relative to other parts of the building. This prevents odors and vapors from leaving the lab. Lab ventilation should be 6 to 8 room air changes per hour, verified by professional engineering analysis at the time of installation. It should be noted that this rate will not necessarily prevent the accumulation of chemical vapors in "dead spots" or "eddies," which should be minimized during the design of the laboratory.

- Local Exhaust:

Local exhaust ventilation, like that provided by a chemical fume hood, is the recommended method for reducing employee exposures to hazardous dusts, fumes and vapors. Also, with the hood sash closed or lowered to an appropriate working level, the hood can provide some protection from chemical splashes and fires. The maximum working level of the hood sash is identified by a yellow sticker to the left of the hood opening, the sticker contains the maximum working height, hood face velocity, date of inspection and the inspectors' initials. The fume hoods are certified annually. If there are problems with the hood EH&S should be notified. A hood is not designed to withstand explosions. When using a fume hood, always keep your work at least 6 inches inside the hood face. This simple step can reduce vapor concentrations at the face of the hood by as much as 90 percent. See standard operating procedures in the section titled "Fume Hood Performance" for more information on hood usage.

- Other Ventilation:

Other means of ventilation include the use of biological safety cabinets, glove boxes, and isolation rooms. These are usually very specialized pieces of equipment, and must be certified for use annually by individuals with proper training and credentials to perform the inspection, i.e. the manufacturer or the distributor. The exhaust from these types of equipment passes through special filters or scrubbers before being exhausted to the atmosphere or recirculated to the area.

Personal Protective Equipment:

Standard laboratory attire must be worn when working with hazardous chemicals. Standard laboratory attire includes; lab coat, safety glasses/goggles, gloves, long pants, and closed-toed shoes, preferably leather shoes. Additional protective equipment such as face shields, blast shields, or respirators may be appropriate in some cases. Respirators may only be worn when engineering controls cannot keep exposure to chemicals below permissible exposure levels (PELs) set by OSHA. (See Appendix 3 of this CHP.) Employees may not wear a respirator until they have been cleared by a physician, attended …………………………Respiratory Protection Training, and been fit tested for the respirator they will be using.

Proper Storage and Handling of Chemicals:

Proper storage of chemicals is important to prevent chemical reactions that may result in fires, explosions or other safety/health hazards. Chemicals must not be stored in simple alphabetical order. Storage in this manner is unsafe as no regard for chemical incompatibility is considered. Chemicals must be stored according to chemical compatibility, that is, store chemicals of similar hazards and reactives together. Suggested chemical storage patterns and lists of chemical incompatibilities are included in Appendix 5 of this plan. Additionally, many chemical companies provide storage codes for their products in order to provide for safe storage. Some general rules for safe chemical storage follow:

- Store chemicals only in a secure area.

- Do not store chemicals in fume hoods.

- Shelving must be stable.

- Do not store chemicals on the floor.

- Do not store chemicals on top of shelving units.

- Keep an accurate inventory, update frequently.

- Keep inventory to a minimum.

- Dispose of outdated chemicals.

- Always keep chemicals properly labeled.

- Store large quantities of flammable chemicals in an approved flammable storage cabinet. The cabinet should be vented and exhausted properly to avoid the accumulation of potentially flammable vapors.

When handling chemicals always wear proper personal protective equipment as specified above and in the section titled "Personal Protective Equipment" of this plan. When transporting chemicals from one location to another, always use secondary containment to prevent spills.

Flammable Chemical Storage:

When the volume of flammable liquids stored in a laboratory exceeds 10 gallons of flammable or combustible liquids, those liquids must be stored in an approved flammable storage cabinet. Volumes below 10 gallons should be stored based on other compatibility considerations.

Ideally, flammable storage cabinets will be grounded to a true earth ground and ventilated from the bottom at about 20 cubic feet per minute (cfm). The cabinet should be vented directly to the building exterior.

As with other types of storage, store only compatible materials in the same cabinet. Do not overload the cabinet.

Not more than 60 gallons of flammable liquids, nor more than 120 gallons of combustible liquids may be stored in a flammable storage cabinet.

If flammable chemicals are to be stored in a refrigerator, the refrigerator must be approved for flammable storage, i.e. no lights, switches, thermostats inside and marked/labeled appropriately.

Corrosive Liquid Storage:

Corrosive liquid storage should be designed based on the compatibility of both construction materials and other chemicals. Containers should be unbreakable or double contained packaging. Cabinets should be designed to hold the contents in case of container breakage.

Toxic Chemical Storage:

Toxic chemicals should be stored in accordance with general chemical compatibility guidelines. In the case of some poisons, they should be stored in a dedicated locked cabinet.

Storage of Chemicals in Refrigerators:

All refrigerators located in laboratory areas must be clearly marked as to their contents. An inventory list should be posted on the outside of the refrigerator.

Refrigerators used for chemical storage must be marked "Chemical Storage Only! No Food!"

Refrigerators located in breakrooms or lunchrooms and which are located in the vicinity of laboratories should be marked "Food Storage Only! No Chemicals!"

Safety Equipment:

At a minimum, the following safety items must be readily available in all laboratories:

- Fire Extinguishers

- Eyewash/Safety Showers

- Spill Kits/Absorbents

- First Aid Kits

- Telephone with emergency numbers posted

Fire Extinguishers and eyewash/safety showers are inspected annually by EH&S personnel. However, all safety equipment should be checked at least once a month by personnel in the laboratory, operation and accessibility should be verified.

Discharged, overcharged, or missing fire extinguishers need to be reported, immediately, to …………………………………………………………….

Malfunctioning eyewash/safety showers and fume hoods are to be reported immediately to ……………………………………………… If the unit is not repaired quickly, please call …………………. Laboratory operations should be restricted until safety equipment is repaired, no chemical work is to be performed in a malfunctioning fume hood.

Spill Kits and First Aid Kits are to be maintained by individual laboratories or departments. Minimum equipment requirements for spill kits include, but are not limited to the following:

- Gloves

- Goggles

- Chemical Resistant Clothing (aprons or coveralls)

- Rubber Boots/Shoe Covers

- Broom

- Shovel

- Waste Containers

- Labels

- Absorbent Material

Spill Kits must be available for the specific hazards of the chemicals in use in the laboratory. For example; clay absorbent or activated carbon for flammable solvents, bicarbonate of soda for acids, and citric acid for bases. Amorphous silica spill absorbents may be used for all types of spills, except hydrofluoric acid spills. Neutralize hydrofluoric acid with sodium bicarbonate, or absorb it with clay absorbent. Solid materials may be placed directly into the appropriate container (based on volume of spill and chemical nature).

All materials collected during spill cleanup must be placed in an appropriate container and properly labeled. If the material is identified as waste it must be disposed of properly by calling EH&S.

Fume Hood Performance

Yearly Certifications.

- Environmental Health & Safety certifies chemical fume hoods annually to ensure that they are functioning properly. Each hood will be marked with maximum sash height that provides adequate face velocity across the hood opening.

- Biological Safety Cabinets, gloveboxes, and other specialty ventilation devices will have to be certified by appropriately trained and competent external vendors. Consult the manufacturer or distributor for more information. Biological Safety Cabinets to be used with "Class 2" organisms must be certified prior to use.  cabinets.

Inspections by Users

- Users must ensure that fume hoods are working before using them.

- All fume hoods should be equipped with either a low airflow alarm or a magnehelic gauge to detect hood malfunctions.

- Many older hoods do not have such devices. A small piece of tissue paper can be taped to the sash to indicate the presence of airflow; however, this should not be relied on as a measure of adequate airflow.

- Do not use a hood if the inspection label is missing or out-of-date (more than 1 year since last inspection).

Contingency Plan for Hood Failures

- For a variety of reasons: electrical problems, service, mechanical problems, or maintenance; fume hoods may malfunction. To avoid interruptions in laboratory use, users must have a contingency plan for hood failure.

- If a fume hood malfunctions close the sash and report it to the ……………………Maintenance Department. If a hazardous condition exists in a malfunctioning fume hood, close the sash and call the ……………………………Chemical Safety Office. After hours, call the ………………………….. In all cases, place a warning sign on the hood to prevent others from using it until it is repaired and re-certified by EH&S to ensure the unit is working properly.

- In the event of scheduled maintenance or service, where the power is to be disrupted, the Maintenance Department shall notify the affected laboratories. Notification should include the work schedule and how long the hood will be inoperative.

Employee Information and Training

An essential component of the ………………………………………..Chemical Hygiene Plan is providing information and training to all laboratory workers. This information and training will ensure that laboratory workers are aware of the hazards posed by chemicals in their work areas and how to protect themselves from these hazards.

Provision of information and training will occur at the time of initial assignment and prior to work involving new exposure situations. Refresher training will occur annually.

Employee Information

Laboratory workers will be informed of, and provided access to the following:

- Contents and appendices of the "Lab Standard" itself, OSHA 29 CFR 1910.1450.

- Contents and appendices of the …………………………………..CHP.

- Mandatory and recommended exposure limits for hazardous chemicals.

- The signs and symptoms associated with exposures to hazardous chemicals.

- The location and availability of safety reference materials, including MSDS's, for hazardous chemicals.

Employee Training

At a minimum, employee training will include:

- Methods used to detect the presence or release of hazardous chemicals.

- Physical and health hazards of chemicals in the work area.

- Protective measures used to reduce hazards or exposures.

- Applicable details of the ……………………………………………CHP.

Information and Training Responsibilities

To satisfy the information and training requirements outlined above, laboratory workers must receive a combination of the following training:

- Hazard Communication/Right-to-Know training. 2

- General laboratory safety training.

- On the job training specific to the work area.

Note: Other training such as Hazardous Waste training may be required of certain laboratory personnel

Responsibilities of …………………………….EH&S

- Provide Hazard Communication/Right-to-Know training.

- Provide general lab safety training.

- Document and maintain training records.

- Assist departments in tracking refresher training.

- Schedule training courses.

Responsibilities of …………………………….Departments

- Identify laboratory workers who require training.

- Ensure workers attend scheduled training sessions, including refresher training.

- Provide a location for the training sessions.

- Provide on-the-job, specific training (Principal Investigators, Lab Managers).

Medical Consultation/Examinations

Whenever an employee develops signs or symptoms associated with a hazardous chemical to which the employee may have been exposed in the laboratory, the employee shall be provided an opportunity to receive an appropriate medical examination.

Where monitoring reveals an exposure level routinely above the action level (or in the absence of an action level, the PEL) for an OSHA regulated substance for which there are exposure monitoring and medical surveillance requirements, medical surveillance shall be established for the affected employee as prescribed by the particular standard.

Whenever an event takes place in the work area such as a spill, leak, explosion or other occurrence resulting in the likelihood of a hazardous exposure, the affected employee shall be provided an opportunity for a medical consultation. Such consultation shall be for the purpose of determining the need for a medical examination.

All consultations/examinations will be conducted or supervised by a licensed physician. These consultations and/or examinations will be provided to the employee at no cost. The consultation or examination must be at a ……………………………………….approved medical facility.

In cases where laboratory employees seek medical attention for possible overexposure to hazardous chemicals, the Principal Investigator, supervisor, or Lab Manager must provide the following information to the attending physician:

- The identity of the hazardous chemical(s) to which the employee may have been exposed;

- A description of the conditions under which the exposure occurred including quantitative exposure data, if available; and

- A description of the signs and symptoms of exposure that the employee is experiencing, if any.

If at all possible, a copy of the Material Safety Data Sheet(s) for the chemical(s) involved should also be given to the physician.

Principal Investigators, supervisors, Lab Managers, or other responsible parties must notify …………………………..EH&S of all cases of possible overexposure to hazardous chemicals. EH&S will then conduct an exposure assessment and collect all relevant information regarding the situation. All incidents of overexposure must be fully documented. See Appendix 8, Accident Reporting.

For any consultation/examination provided under this program, the person responsible for the employee must ensure that the attending physician provides a written opinion regarding the case to …………………………………EH&S. The written opinion must include the following:

- Any recommendation for further medical follow-up;

- The results of the medical examination and any associated tests;

- Any medical condition which may be revealed in the course of the examination which may place the employee at increased risk as a result of exposure to a hazardous chemical found in the workplace; and

- A statement that the employee has been informed by the physician of the results of the consultation or medical examination and any medical condition that may require further examination or treatment.

The written opinion must not reveal specific findings or diagnoses that are unrelated to the occupational exposure.

Work with Particularly Hazardous Substances

Additional protective measures must be implemented in areas where OSHA "select carcinogens," reproductive toxins, and substances with a high degree of acute toxicity are used. Measures to be taken include: (See also, Appendix 4 of this CHP.)

- Establishing designated work areas

- Using containment devices such as fume hoods and glove boxes

- Following good industrial/chemical hygiene practices (i.e., no eating drinking or tobacco products, wash hands, use of proper PPE, etc.)

- Properly handling and storing waste

- Decontamination procedures

The following guidelines, taken from Appendix A of 29 CFR 1910.1450 (Appendix 2 of this CHP), should be adhered to when working with hazardous chemicals of a specific nature:

Working with Allergens and Embryotoxins

Allergens (examples: diazomethane, isocyanates, bichromates): Wear suitable PPE (gloves, lab coats, safety glasses, respirators, etc.) to prevent hand contact with allergens or substances of unknown allergenic activity.

Embryotoxins (examples: organomercurials, lead compounds, formamide): If you are a woman of childbearing age, handle these substances only in a glove box or hood with satisfactory performance. Use appropriate protective apparel (gloves, lab coats, etc.) to prevent skin contact.

Review the use of these materials with the research supervisor. Review procedures annually or whenever a procedural change is made.

Store these substances in an unbreakable secondary container, properly labeled, and in an area that is secure (capable of being locked) and adequately ventilated area.

Notify supervisors of all incidents of exposure or spills. Consult a qualified physician when appropriate.

Work with Chemicals of Moderate Chronic or High Acute Toxicity

EXAMPLES: diisopropylflurophosphate, hydrofluoric acid, hydrogen cyanide.

Supplemental rules to be followed in addition to those mentioned above:

- Aim: To minimize exposure to these toxic substances by any route using all reasonable precautions.

- Applicability: These precautions are appropriate for substances with moderate chronic or high acute toxicity.

- Location: Use and store these substances only in areas of restricted access with special warning signs.

- Always use a hood (previously evaluated to confirm adequate performance) or other containment device for procedures that may result in the generation of aerosols or vapors. Trap released vapors to prevent their discharge with the hood exhaust.

- Personal protection: Avoid skin contact by use of gloves and long sleeves (and other protective apparel as identified in the MSDS or other safety document). Always wash hands and arms immediately after working with these materials.

- Records: Maintain records of the amounts of these materials on hand, amounts used, and the names of the workers involved.

- Prevention of spills and accidents: Be prepared for accidents and spills.

- Assure that at least 2 people are present at all time if a compound in use is highly toxic or of unknown toxicity.

- Store breakable containers of these substances in chemical resistant trays. Work (including instrumentation areas) and storage areas should be covered with removable, absorbent, plastic backed paper.

- If a major spill occurs outside the hood, evacuate the area. Contact EH&S at the earliest convenient time. Cleanup personnel must wear suitable protective apparel and equipment.

- Waste: Thoroughly decontaminate/dispose of containers, labware, and contaminated clothing or shoes in accordance with directions from EH&S office.

Store contaminated waste in closed, properly labeled, impervious containers. Ensure that absorbent material is used to prevent breaking of containers and to absorb any leakage. All materials used must be compatible with the chemicals in the container.

Work with Chemicals of High Chronic Toxicity

Examples: dimethylmercury and nickel carbonyl, benzo-a-pyrene, N-nitrosodiethylamine, other human carcinogens or substances with high carcinogenic potency in animals.

Further supplemental rules to be followed, in addition to all those mentioned above, for work with substances of known high chronic toxicity (in quantities above a few milligrams to a few grams, depending on the substance as identified in a MSDS or other safety document).

- Access: Conduct all transfers and work with these substances in a "controlled area". A controlled area is a restricted access hood, glove box, or portion of a lab, designated for use of highly toxic substances. Make sure all people with access are aware of the substances being used and of the necessary precautions.

- Approvals: Prepare a plan for use and disposal of these materials and obtain the approval of the laboratory supervisor or EH&S.

- Non-contamination/Decontamination: Protect vacuum pumps against contamination by scrubbers or HEPA filters and vent them into the hood. Decontaminate vacuum pumps or other contaminated equipment, including glassware, in the hood before removing them from the controlled area.

- Decontaminate the controlled area before normal work is resumed there based on guidance from EH&S, a MSDS or other source of information.

- Exiting: On leaving a controlled area, remove any protective apparel (placing it in an appropriate, labeled container) and thoroughly wash hands, forearms, face, and neck.

- Housekeeping: Use a wet mop or a vacuum cleaner equipped with a HEPA filter. Avoid dry sweeping of powder if the substance was toxic.Medical surveillance: If using toxicologically significant quantities (as identified by MSDS or other source of safety information) of such a substance on a regular basis (e.g., 3 times per week), consult a qualified physician concerning regular medical surveillance. If medical surveillance is recommended, consult with ……………………………EH&S .

- Records: Keep accurate records of the amounts of these substances stored and used, the dates of use, names of users, and disposal records.

- Signs and labels: Assure that the controlled area is conspicuously marked with warning and restricted access signs. Keep all containers of these substances appropriately labeled with identity and warning labels.

- Spills: Assure that contingency plans, equipment, and materials to minimize exposures of people and property in case of accident are available.

- Storage: Store containers of these chemicals only in a ventilated, limited access area in appropriately labeled, unbreakable, chemically resistant, secondary containers.

- Glove boxes: For a negative pressure glove box, ventilation rate must be at least 2 volume changes/hour and pressure at least 0.5 inches of water. For a positive pressure glove box, thoroughly check for leaks before each use. In either case, trap the exit gases or filter them through a HEPA filter and then release them into the hood exhaust. HEPA filters must be evaluated by competent laboratory staff and renamed and disposed of in accordance with hazardous waste regulations. Contact EH&S for further information.

- Waste: Use chemical decontamination whenever possible; ensure that containers of contaminated waste (including washings from contaminated flasks) are transferred from the controlled area in a secondary container under the supervision of authorized personnel.

Appendix 1: Guidelines for Preparing Laboratory Specific Standard Operation Procedures

Laboratories must provide standard operating procedures (SOPs) for work involving the laboratory use of hazardous chemicals. See the definition of "Hazardous chemical" in the CHP section entitled, "Scope of Application." In most cases, more than one SOP will be required. All hazardous chemicals used in the laboratory must be covered by an SOP.

There are three methods that can be used to write SOPs. They are:

- By process: (distillation, synthesis, chromatography, etc.).

- By individual hazardous chemical: (arsenic, benzene, hydrochloric acid, etc.).

- By hazardous chemical class: (flammable, corrosive, oxidizer, etc.).

These methods may be used alone or in combination. A sample form is provided in this appendix to assist in the preparation of SOPs. The form consists of nine sections and should contain the information listed below.

Section 1. Process, Hazardous Chemical, or Hazard Class - circle one.

- Process - Describe the process that involves hazardous chemicals. List all chemicals used in the process.

- Hazardous Chemical - Name the hazardous chemical for which the SOP is being developed. Include IUPAC (International Union of Pure and Applied Chemistry), common name, and any abbreviation(s) used for the chemical.

- Hazard Class - Describe the hazard associated with a particular group of similar chemicals and list the chemicals used in the laboratory.

Section 2. Describe Process, Hazardous Chemical, or Hazard Class.

Section 3. Potential Hazards - Describe the potential hazards for each process, hazardous chemical or hazard class. Include physical and health hazards.

Section 4. Personal Protective Equipment - Identify the required level of personal protective equipment and hygiene practices needed for each process, hazardous chemical or hazard class.

Personnel protective equipment includes: gloves, aprons, lab coats, safety glasses, goggles, face-shields, and respirators. (Note: Before using respirators, all employees must be entered into the …………………………..Respiratory Protection Program. )

Section 5. Engineering Controls - Describe engineering controls that will be used to prevent or reduce employee exposure to hazardous chemicals for the process, hazardous chemical or hazard class. This includes ventilation devices such as fume hoods, gloveboxes, etc.

Section 6. Special Handling & Storage Requirements - List storage requirements for the hazardous chemicals involved with the SOP, including specific storage areas, and policies regarding access to chemicals. Special procedures such as dating peroxide formers and testing them before distillation are appropriate here.

Section 7. Spill and Accident Procedures - Indicate how spills or accidental releases will be handled and by whom. List the location of appropriate emergency equipment (spill kits, showers, eye washes, and fire equipment). Any special requirements for personnel exposure should also be identified in this section. Identify the location of emergency response phone numbers.

Section 8. Decontamination Procedures - Specify decontamination procedures to be used for equipment, glassware, and clothing: include equipment such as glove boxes, hoods, lab benches, and controlled areas within the laboratory.

Section 9. Waste Disposal Procedures - Indicate how wastes will be disposed. Include the name of Hazardous Waste Accumulation Point Manager for the laboratory. See also, Handling and Storage of Hazardous Materials, Appendix 2.

Section 10. Material Safety Data Sheet Location - Indicate the location of MSDSs for each hazardous chemical used. Also, indicate the location of other pertinent safety information, i.e. equipment manuals, chemical references, etc.

STANDARD OPERATING PROCEDURE

Date: _______________

Location: _______________ Principal Investigator: _____________________

Section 1: Process, Hazardous Chemical, or Hazard Class - circle one.

Section 2: Describe Process, Hazardous Chemical, or Hazard Class.

Section 3: Potential Hazards

Section 4: Personal Protective Equipment

Section 5: Engineering Controls

Section 6: Special Handling and Storage Requirements

Section 7: Spill and Accident Procedures

Section 8: Decontamination Procedures

Section 9: Waste Disposal Procedures

Section 10: Material Safety Data Sheet Locations

Appendix 2: 29 CFR 1910.1450 Occupational Exposure to Hazardous Chemicals in Laboratories

Appendix 3: OSHA Permissible Exposure Limits (PEL's)

Appendix 4: Report on Carcinogens

Appendix 5: Chemical Storage Information

- Segregate all incompatible chemicals for proper storage of chemicals for hazard class codes. In other words, store like chemicals together and away from other groups of chemicals that might cause reactions if mixed. Do not simply store chemicals in alphabetical order (see #3 below).

- Flammable materials should be stored in an approved, dedicated, flammable materials storage cabinet or room if the volume exceeds ten (10) gallons.

- Chemicals shall be stored separately from non-compatible hazard classes. A suggested storage pattern is included on this page.

- Liquids should be stored in unbreakable or double-contained packaging, or the storage cabinet should have the capacity to hold the contents if the container breaks.

- Avoid floor chemical storage (even temporary).

- Chemicals should be stored no higher than eye level and never on the top shelf of a storage unit.

- Shelf assemblies should be firmly secured to the walls. Avoid island shelves.

- Each shelf should have an anti-roll lip.

- Store acids in a dedicated acid cabinet. Nitric acid may be stored there also, if it is kept isolated from the others.

- Store severe poisons in a dedicated poison cabinet.

- All chemicals should be labeled and dated.

- Look for unusual conditions in chemical storage areas, such as:

  - improper storage of chemicals

  - leaking or deteriorating containers

  - spilled chemicals

  - temperature extremes (too hot or cold in storage area)

  - lack of or low lighting levels

  - blocked exits or aisles

  - doors blocked open, lack of security

  - trash accumulation

  - smoking or open lights or matches

  - fire equipment blocked, broken or missing

  - lack of information or warning signs ("No Smoking", "Flammable Liquids", "Acids",

  - "Corrosives", "Poisons", Chemical Storage")

Any of these conditions should be corrected immediately. Inspections of chemical storage areas on a routine basis will help to correct deficiencies and prevent accidents

Suggested Chemical Storage Pattern

| Inorganic | Organic |
| --- | --- |
| Sulfur, Phosphorus, Arsenic, Phosphorus Pentoxide | Alcohols, Glycols, etc. (store flammables in dedicated cabinets) |
| Halides, Sulfates, Sulfites, Thiosulfates Phosphates, etc. | Hydrocarbons, Esters, etc. (store flammables in dedicated cabinet) |
| Amides, Nitrates (not ammonium nitrate), Nitrites, etc. | Ethers, Ketones, etc. (store flammables in dedicated cabinet) |
| Metals, Hydrides (store away from water) | Epoxy compounds, Isocyanates |
| Hydroxides, Oxides, Silicates, etc. | Sulfides, Polysulfides, etc. |
| Arsenates, Cyanides (store above acids) | Phenol, Cresols |
| Sulfides, Selenides, Phosphides, Carbides, Nitrides | Peroxides, Azides, etc. |
| Manganates, Chromates, Permanganates, Borates | Acids, Anhydrides, Peracids, etc. |
| Chlorates, Chlorites, Perchlorates, Peroxides, Perchloric acid | Miscellaneous |
| Acids. except nitric. (store acids in dedicated cabinets) | Miscellaneous (Nitric Acid) |

Suggested Storage Time Limits for Common Peroxidizable Compounds

MOST DANGEROUS: Discard after 3 months. Peroxide formation hazard during storage.

isopropyl ether

divinyl acetylene

vinylidene chloride

potassium metal

sodium amide

| DANGEROUS: Discard after one year. Peroxide formation hazard during storage and on concentration (i.e. distillation) of compound. |  |
| --- | --- |
| diethyl ether | dicyclopentadiene |
| tetrahydrofuran | diacetylene |
| dioxane | methyl acetylene |
| acetal | cumene |
| methyl isobutyl ketone | tetrahydronaphthalene |
| ethylene glycol dimethyl ether | cyclohexene |
| vinyl ethers | methylcyclopentane |

| DANGEROUS: Discard after one year. Peroxide formation causes initiation of hazardous polymerization. |  |
| --- | --- |
| methyl methacrylate | chorotrifluoroethylene |
| styrene | vinyl acetylene |
| acrylic acid | vinyl acetate |
| acrylonitrile | vinyl chloride |
| butadiene | vinyl pyridine |
| tetrafluoroethylene | chloroprene |

Safety Hints

- Do not purchase these compounds in quantities greater than can be used in the specified storage time period.

- Ethers should be stored in the dark and under nitrogen if possible.

- Always check for the presence of peroxides before distilling any peroxide former.

- Consult safety references before working with peroxidizable compounds.

Short List of Incompatible Materials

Do Not Contact

| ALKALI METALS such as calcium, potassium, and sodium with: water, carbon dioxide, carbon tetrachloride, and other chlorinated hydrocarbons. | ACETIC ACID with: chromic acid, nitric acid, hydroxyl containing compounds, ethylene glycol, perchloric acid, peroxides, and permanganates. |
| --- | --- |
| ACETONE with: concentrated sulfuric acid and nitric acid mixtures. | ACETYLENE with: copper (tubing), fluorine, bromine, chlorine, iodine, silver, mercury, or their compounds. |
| AMMONIA, ANHYDROUS with: mercury, halogens, calcium hypochlorite, or hydrogen fluoride. | AMMONIUM NITRATE with: acids, metal powders, flammable liquids, chlorates, nitrates, sulfur, and finely divided organics or other combustibles. |
| ANILINE with: nitric acid, hydrogen peroxide, or other strong oxidizing substances. | BROMINE with: ammonia, acetylene, butadiene, butane, hydrogen, sodium carbide, turpentine, or finely divided metals. |
| CHLORATES with: ammonium salts, acids, metal powders, sulfur, carbon, finely divided organics or other combustibles. | CHROMIC ACID with: acetic acid, naphthalene, camphor, alcohol, glycerine, turpentine, and other flammable liquids. |
| CHLORINE with: ammonia, acetylene, butadiene, benzene and other petroleum fractions, hydrogen, sodium carbides, turpentine, and finely divided metals. | CYANIDES with: acids. |
| HYDROGEN PEROXIDE with: copper, chromium, iron, most metals or their respective salts, flammable liquids and other combustible materials, aniline, and nitromethane. | HYDROGEN SULFIDE with: nitric acid, oxidizing gases. |
| HYDROCARBONS generally, with: fluorine, chlorine, bromine, chromic acid, or sodium peroxide. | IODINE with: acetylene or ammonia. |
| MERCURY with: acetylene, fluminic acid, or hydrogen. | NITRIC ACID with: acetic, chromic, or hydrocyanic acids, aniline, carbon, hydrogen sulfide, flammable liquids or gases, or other substances which are readily nitrated. |
| OXYGEN with: oils greases, hydrogen, flammable liquids, solids, or gases. | OXALIC ACID with: silver or mercury |
| PERCHLORIC ACID with: acetic anhydride, bismuth and its alloys, alcohol, paper, wood, and other organic materials. | PHOSPHOROUS PENTOXIDE with: water. |
| POTASSIUM PERMANGANATE with: glycerine, ethylene glycol, benzaldehyde, or sulfuric acid. | SODIUM PEROXIDE with: any oxidizable substances, for instance: methanol, glacial acetic acid, acetic anhydride, benzaldehyde, carbon disulfide, glycerine, ethylene glycol, ethyl acetate, furfural, etc. |
| SULFURIC ACID with: chlorates, perchlorates, permanganates, and water |  |

NOTE: This list is not a complete list of incompatible materials. It contains some of the more common incompatible materials. Always research the materials you work with in order to be safe.

Appendix 6: Glove Selection

The following Internet links are manufacturers that may supply gloves to laboratories. These links contain chemical compatibility charts for the gloves supplied by each specific manufacturer. It is recommended that users select the glove that will offer the best protection for the specific chemical that is being handled. Please note that similar gloves supplied by different companies may not offer the same level of protection, therefore it is important that the compatibility chart for the manufacturer of the glove being used be referenced.

Regardless of glove selection, it is imperative that the user be aware that many factors affect the breakthrough times of glove materials including, but not limited to:

- Thickness of glove material

- Concentration of the chemical worked with

- Amount of chemical the glove comes in contact with

- Length of time which the glove is exposed to the chemical

- Temperature at which the work is done

- Possibility of abrasion or puncture

| Chemrest | Ansell Edmont |
| --- | --- |
| MAPA | Saf-T-Gard |
| Microflex | Safeskin |

Appendix 7: Laboratory Safety Checklist

Please see EHS form 9-7. This checklist may be used to determine if your laboratory meets basic safety practices as outlined in the ………………..Chemical Hygiene Plan.

Appendix 8: Accident Reporting

All accidents, injuries, or incidents must be reported to your supervisor and must be documented to include first-aid type of incidents. Medical treatment for Workers' Compensation injuries must be authorized through the …………………………..medical managed care company. Persons responsible for the affected individual(s) must complete the appropriate forms. Procedures for reporting incidents and forms can be found at …………………………………………………………………

References

- 29 CFR 1910.1450 Occupational Exposure to Hazardous Chemicals in Laboratories.

- 29 CFR Subpart Z, Toxic and Hazardous Substances.

- Safety in Academic Chemistry Laboratories, the American Chemical Society, 1990.

- Prudent Practices in the Laboratory handling and disposal of chemicals, the National Research Council, 1995.

- "Lists of Carcinogens and Reproductive Toxins," Tenth Annual Report on Carcinogens, Summary 2002, U.S. Dept. of Public Health Services.

- The Harvard University, Longwood Area, Chemical Hygiene Plan.

- The University of Southern California Laboratory Safety Program.

- The University of West Florida Chemical Hygiene Plan.

- The FSU Safety Manual, Handling and Storage of Hazardous Materials.